## Data2 (hidden)
Orifice Bore Data for Cla-Val Standard Orifices
| PIPE SIZE IS | #REF! | [8 empty] | PIPE SIZE IS | #REF! | [8 empty] | PIPE SIZE IS | #REF!
2" ORIFICE P/N |  |  | 2.5" ORIFICE P/N |  | 3" ORIFICE P/N |  | 4" ORIFICE P/N |  | 6" ORIFICE P/N |  | 8" ORIFICE P/N |  | 10" ORIFICE P/N |  | 12" ORIFICE P/N |  | 14" ORIFICE P/N |  | 16" ORIFICE P/N |  | 20" ORIFICE P/N |  | 24" ORIFICE P/N |  | PIPE SIZES 2" THRU 8" |  | PIPE SIZES 10" THRU 24"
ORIFICE BORE (INCHES) | FLOW (GPM) | PRESSURE DROP (INCHES H20) | ORIFICE BORE (INCHES) | FLOW (GPM) | ORIFICE BORE (INCHES) | FLOW (GPM) | ORIFICE BORE (INCHES) | FLOW (GPM) | ORIFICE BORE (INCHES) | FLOW (GPM) | ORIFICE BORE (INCHES) | FLOW (GPM) | ORIFICE BORE (INCHES) | FLOW (GPM) | ORIFICE BORE (INCHES) | FLOW (GPM) | ORIFICE BORE (INCHES) | FLOW (GPM) | ORIFICE BORE (INCHES) | FLOW (GPM) | ORIFICE BORE (INCHES) | FLOW (GPM) | ORIFICE BORE (INCHES) | FLOW (GPM) | ORIFICE BORE (INCHES) | FLOW (GPM) | ORIFICE BORE (INCHES) | FLOW (GPM)
0.8 | 12.2791 | 30 | 0.8 | 12.1849 | 1 | 19.0569 | 1.2 | 27.3831 | 2.4 | 110.5117 | 4 | 312.9599 | 3 | 171.1445 | 4.5 | 387.3616 | 4.5 | 385.5757 | 5.5 | 576.9432 | 8 | 1227.9075 | 10 | 1923.0916 | #REF! | #REF! | #REF! | #REF!
0.8 | 50.1291 | 500 | 0.8 | 49.7448 | 1 | 77.7994 | 1.2 | 111.7911 | 2.4 | 451.162 | 4 | 1277.6533 | 3 | 698.6944 | 4.5 | 1581.397 | 4.5 | 1574.1063 | 5.5 | 2355.3606 | 8 | 5012.9113 | 10 | 7850.9886 | #REF! | #REF! | #REF! | #REF!
1 | 19.56 | 30 | 1 | 19.1861 | 1.2 | 27.6279 | 1.4 | 37.4019 | 2.6 | 130.3455 | 4.2 | 347.5439 | 3.5 | 233.7619 | 5 | 480.7729 | 5 | 477.3712 | 6 | 688.6428 | 8.5 | 1391.2168 | 10.5 | 2127.3443 | #REF! | #REF! | #REF! | #REF!
1 | 79.8533 | 500 | 1 | 78.3267 | 1.2 | 112.7905 | 1.4 | 152.6926 | 2.6 | 532.1332 | 4.2 | 1418.842 | 3.5 | 954.3288 | 5 | 1962.7472 | 5 | 1948.8597 | 6 | 2811.3725 | 8.5 | 5679.6189 | 10.5 | 8684.8467 | #REF! | #REF! | #REF! | #REF!
1.2 | 29.2319 | 30 | 1.2 | 28.026 | 1.4 | 38.0331 | 1.6 | 49.1163 | 2.8 | 152.1322 | 4.4 | 384.6792 | 4 | 306.9769 | 5.5 | 585.9763 | 5.5 | 579.8487 | 6.5 | 811.293 | 9 | 1566.5038 | 11 | 2343.9054 | #REF! | #REF! | #REF! | #REF!
1.2 | 119.3388 | 500 | 1.2 | 114.4157 | 1.4 | 155.2693 | 1.6 | 200.5165 | 2.8 | 621.0773 | 4.4 | 1570.4462 | 4 | 1253.2278 | 5.5 | 2392.2384 | 5.5 | 2367.2225 | 6.5 | 3312.0896 | 9 | 6395.2248 | 11 | 9568.9537 | #REF! | #REF! | #REF! | #REF!
1.4 | 42.5826 | 30 | 1.4 | 39.0922 | 1.6 | 50.5726 | 1.8 | 62.6602 | 3 | 176.0399 | 4.6 | 424.6268 | 4.5 | 391.6259 | 6 | 704.1597 | 6 | 693.5997 | 7 | 945.4864 | 9.5 | 1754.4745 | 11.5 | 2573.416 | #REF! | #REF! | #REF! | #REF!
1.4 | 173.8427 | 500 | 1.4 | 159.5933 | 1.6 | 206.4616 | 1.8 | 255.809 | 3 | 718.68 | 4.6 | 1733.5316 | 4.5 | 1598.8062 | 6 | 2874.72 | 6 | 2831.6089 | 7 | 3859.9319 | 9.5 | 7162.6121 | 11.5 | 10505.927 | #REF! | #REF! | #REF! | #REF!
1.5 | 51.5392 | 30 | 1.6 | 53.1463 | 1.8 | 65.7718 | 2 | 78.24 | 3.2 | 202.2902 | 4.8 | 467.7107 | 5 | 488.9998 | 6.5 | 837.0052 | 6.5 | 819.4323 | 7.5 | 1091.9989 | 10 | 1955.9992 | 12 | 2816.6389 | #REF! | #REF! | #REF! | #REF!
1.5 | 210.408 | 500 | 1.6 | 216.9689 | 1.8 | 268.5123 | 2 | 319.4133 | 3.2 | 825.8464 | 4.8 | 1909.4211 | 5 | 1996.3333 | 6.5 | 3417.0595 | 6.5 | 3345.3184 | 7.5 | 4458.0667 | 10 | 7985.3333 | 12 | 11498.88 | #REF! | #REF! | #REF! | #REF!
1.55 | 56.9092 | 30 | 1.875 | 80.53 | 2 | 84.5668 | 2.2 | 96.1698 | 3.4 | 231.1762 | 5 | 514.3361 | 5.5 | 601.0612 | 7 | 986.8984 | 7 | 958.4396 | 8 | 1251.8395 | 10.5 | 2172.1493 | 12.5 | 3074.4808 | #REF! | #REF! | #REF! | #REF!
1.55 | 232.3308 | 500 | 1.875 | 328.7624 | 2 | 345.2427 | 2.2 | 392.6116 | 3.4 | 943.7729 | 5 | 2099.7682 | 5.5 | 2453.8222 | 7 | 4028.9957 | 7 | 3912.8133 | 8 | 5110.6133 | 10.5 | 8867.7624 | 12.5 | 12551.5152 | #REF! | #REF! | #REF! | #REF!
0.8 | 12.2791 | 30 | 0.8 | 12.1849 | 2.2 | 108.7245 | 2.4 | 116.9277 | 3.6 | 263.0873 | 5.2 | 565.0136 | 6 | 730.798 | 7.5 | 1157.2562 | 7.5 | 1112.0938 | 8.5 | 1426.3171 | 11 | 2404.2449 | 13 | 3348.0209 | #REF! | #REF! | #REF! | #REF!
0.8 | 50.1291 | 500 | 0.8 | 49.7448 | 2.2 | 443.866 | 2.4 | 477.3553 | 3.6 | 1074.0494 | 5.2 | 2306.6582 | 6 | 2983.4705 | 7.5 | 4724.4786 | 7.5 | 4540.1039 | 8.5 | 5822.9152 | 11 | 9815.2889 | 13 | 13668.2381 | #REF! | #REF! | #REF! | #REF!
1 | 19.56 | 30 | 1 | 19.1861 | 2.29 | 122.2062 | 2.6 | 141.2534 | 3.8 | 298.5466 | 5.4 | 620.3946 | 6.5 | 882.8337 | 8 | 1353.0695 | 8 | 1282.3799 | 9 | 1617.1314 | 11.5 | 2653.9175 | 13.5 | 3638.5458 | #REF! | #REF! | #REF! | #REF!
1 | 79.8533 | 500 | 1 | 78.3267 | 2.29 | 498.9048 | 2.6 | 576.6645 | 3.8 | 1218.8113 | 5.4 | 2532.7503 | 6.5 | 3604.1534 | 8 | 5523.8833 | 8 | 5235.2942 | 9 | 6601.9115 | 11.5 | 10834.5726 | 13.5 | 14854.3008 | #REF! | #REF! | #REF! | #REF!
1.2 | 29.2319 | 30 | 1.2 | 28.026 | 1.4 | 38.0331 | 2.8 | 170.3304 | 4 | 338.2674 | 5.6 | 681.3216 | 7 | 1064.565 | 8.5 | 1581.8513 | 8.5 | 1471.9931 | 9.5 | 1826.5006 | 12 | 2923.1922 | 14 | 3947.5934 | #REF! | #REF! | #REF! | #REF!
1.2 | 119.3388 | 500 | 1.2 | 114.4157 | 1.4 | 155.2693 | 2.8 | 695.3709 | 4 | 1380.9708 | 5.6 | 2781.4837 | 7 | 4346.0683 | 8.5 | 6457.8807 | 8.5 | 6009.3866 | 9.5 | 7456.6576 | 12 | 11933.882 | 14 | 16115.9828 | #REF! | #REF! | #REF! | #REF!
1.4 | 42.5826 | 30 | 1.4 | 39.0922 | 1.6 | 50.5726 | 3 | 206.1569 | 4.2 | 383.2434 | 5.8 | 748.9029 | 7.5 | 1288.4803 | 9 | 1855.4117 | 9 | 1684.638 | 10 | 2057.3443 | 12.5 | 3214.6005 | 14.5 | 4277.0104 | #REF! | #REF! | #REF! | #REF!
1.4 | 173.8427 | 500 | 1.4 | 159.5933 | 1.6 | 206.4616 | 3 | 841.6318 | 4.2 | 1564.5846 | 5.8 | 3057.3832 | 7.5 | 5260.199 | 9 | 7574.6865 | 9 | 6877.5059 | 10 | 8399.073 | 12.5 | 13123.5515 | 14.5 | 17460.8218 | #REF! | #REF! | #REF! | #REF!
1.5 | 51.5392 | 30 | 1.6 | 53.1463 | 1.8 | 65.7718 | 2 | 78.24 | 4.4 | 434.8981 | 6 | 824.6274 | 5 | 488.9998 | 6.5 | 837.0052 | 9.5 | 1925.505 | 10.5 | 2313.5547 | 13 | 3531.3347 | 15 | 4629.0247 | #REF! | #REF! | #REF! | #REF!
1.5 | 210.408 | 500 | 1.6 | 216.9689 | 1.8 | 268.5123 | 2 | 319.4133 | 4.4 | 1775.4639 | 6 | 3366.5273 | 5 | 1996.3333 | 6.5 | 3417.0595 | 9.5 | 7860.8414 | 10.5 | 9445.0476 | 13 | 14416.6137 | 15 | 18897.9142 | #REF! | #REF! | #REF! | #REF!
1.55 | 56.9092 | 30 | 1.875 | 80.53 | 2 | 84.5668 | 2.2 | 96.1698 | 4.6 | 495.3469 | 5 | 514.3361 | 5.5 | 601.0612 | 7 | 986.8984 | 10 | 2202.0588 | 11 | 2600.4116 | 13.5 | 3877.4661 | 15.5 | 5006.3428 | #REF! | #REF! | #REF! | #REF!
1.55 | 232.3308 | 500 | 1.875 | 328.7624 | 2 | 345.2427 | 2.2 | 392.6116 | 4.6 | 2022.2451 | 5 | 2099.7682 | 5.5 | 2453.8222 | 7 | 4028.9957 | 10 | 8989.8674 | 11 | 10616.1358 | 13.5 | 15829.6891 | 15.5 | 20438.309 | #REF! | #REF! | #REF! | #REF!
|  | 30 | [16 empty] | 11.5 | 2925.2408 | 14 | 4258.2599 | 16 | 5412.2782 | #REF! | #REF! | #REF! | #REF!
|  | 500 | [16 empty] | 11.5 | 11942.2456 | 14 | 17384.2731 | 16 | 22095.5331 | #REF! | #REF! | #REF! | #REF!
[21 empty] | 14.5 | 0 | 16.5 | 0 | #REF! | #REF! | #REF! | #REF!
[21 empty] | 14.5 | 0 | 16.5 | 0 | #REF! | #REF! | #REF! | #REF!
[21 empty] | 15 | 0 | 17 | 0 | #REF! | #REF! | #REF! | #REF!
[21 empty] | 15 | 0 | 17 | 0 | #REF! | #REF! | #REF! | #REF!

## Data (hidden)
Orifice Bore Data for Cla-Val Standard Orifices
| PIPE SIZE IS | #REF! | [8 empty] | PIPE SIZE IS | #REF! | [8 empty] | PIPE SIZE IS | #REF!
2" ORIFICE P/N |  |  | 2.5" ORIFICE P/N |  | 3" ORIFICE P/N |  | 4" ORIFICE P/N |  | 6" ORIFICE P/N |  | 8" ORIFICE P/N |  | 10" ORIFICE P/N |  | 12" ORIFICE P/N |  | 14" ORIFICE P/N |  | 16" ORIFICE P/N |  | 20" ORIFICE P/N |  | 24" ORIFICE P/N |  | PIPE SIZES 2" THRU 8" |  | PIPE SIZES 10" THRU 24"
ORIFICE BORE (INCHES) | FLOW (GPM) | PRESSURE DROP (INCHES H20) | ORIFICE BORE (INCHES) | FLOW (GPM) | ORIFICE BORE (INCHES) | FLOW (GPM) | ORIFICE BORE (INCHES) | FLOW (GPM) | ORIFICE BORE (INCHES) | FLOW (GPM) | ORIFICE BORE (INCHES) | FLOW (GPM) | ORIFICE BORE (INCHES) | FLOW (GPM) | ORIFICE BORE (INCHES) | FLOW (GPM) | ORIFICE BORE (INCHES) | FLOW (GPM) | ORIFICE BORE (INCHES) | FLOW (GPM) | ORIFICE BORE (INCHES) | FLOW (GPM) | ORIFICE BORE (INCHES) | FLOW (GPM) | ORIFICE BORE (INCHES) | FLOW (GPM) | ORIFICE BORE (INCHES) | FLOW (GPM)
0.8 | 12.2791 | 30 | 0.8 | 12.1849 | 1 | 19.0569 | 1.2 | 27.3831 | 2.4 | 110.5117 | 4 | 312.9599 | 3 | 171.1445 | 4.5 | 387.3616 | 4.5 | 385.5757 | 5.5 | 576.9432 | 8 | 1227.9075 | 10 | 1923.0916 | #REF! | #REF! | #REF! | #REF!
0.8 | 50.1291 | 500 | 0.8 | 49.7448 | 1 | 77.7994 | 1.2 | 111.7911 | 2.4 | 451.162 | 4 | 1277.6533 | 3 | 698.6944 | 4.5 | 1581.397 | 4.5 | 1574.1063 | 5.5 | 2355.3606 | 8 | 5012.9113 | 10 | 7850.9886 | #REF! | #REF! | #REF! | #REF!
1 | 19.56 | 30 | 1 | 19.1861 | 1.2 | 27.6279 | 1.4 | 37.4019 | 2.6 | 130.3455 | 4.2 | 347.5439 | 3.5 | 233.7619 | 5 | 480.7729 | 5 | 477.3712 | 6 | 688.6428 | 8.5 | 1391.2168 | 10.5 | 2127.3443 | #REF! | #REF! | #REF! | #REF!
1 | 79.8533 | 500 | 1 | 78.3267 | 1.2 | 112.7905 | 1.4 | 152.6926 | 2.6 | 532.1332 | 4.2 | 1418.842 | 3.5 | 954.3288 | 5 | 1962.7472 | 5 | 1948.8597 | 6 | 2811.3725 | 8.5 | 5679.6189 | 10.5 | 8684.8467 | #REF! | #REF! | #REF! | #REF!
1.2 | 29.2319 | 30 | 1.2 | 28.026 | 1.4 | 38.0331 | 1.6 | 49.1163 | 2.8 | 152.1322 | 4.4 | 384.6792 | 4 | 306.9769 | 5.5 | 585.9763 | 5.5 | 579.8487 | 6.5 | 811.293 | 9 | 1566.5038 | 11 | 2343.9054 | #REF! | #REF! | #REF! | #REF!
1.2 | 119.3388 | 500 | 1.2 | 114.4157 | 1.4 | 155.2693 | 1.6 | 200.5165 | 2.8 | 621.0773 | 4.4 | 1570.4462 | 4 | 1253.2278 | 5.5 | 2392.2384 | 5.5 | 2367.2225 | 6.5 | 3312.0896 | 9 | 6395.2248 | 11 | 9568.9537 | #REF! | #REF! | #REF! | #REF!
1.4 | 42.5826 | 30 | 1.4 | 39.0922 | 1.6 | 50.5726 | 1.8 | 62.6602 | 3 | 176.0399 | 4.6 | 424.6268 | 4.5 | 391.6259 | 6 | 704.1597 | 6 | 693.5997 | 7 | 945.4864 | 9.5 | 1754.4745 | 11.5 | 2573.416 | #REF! | #REF! | #REF! | #REF!
1.4 | 173.8427 | 500 | 1.4 | 159.5933 | 1.6 | 206.4616 | 1.8 | 255.809 | 3 | 718.68 | 4.6 | 1733.5316 | 4.5 | 1598.8062 | 6 | 2874.72 | 6 | 2831.6089 | 7 | 3859.9319 | 9.5 | 7162.6121 | 11.5 | 10505.927 | #REF! | #REF! | #REF! | #REF!
1.5 | 51.5392 | 30 | 1.6 | 53.1463 | 1.8 | 65.7718 | 2 | 78.24 | 3.2 | 202.2902 | 4.8 | 467.7107 | 5 | 488.9998 | 6.5 | 837.0052 | 6.5 | 819.4323 | 7.5 | 1091.9989 | 10 | 1955.9992 | 12 | 2816.6389 | #REF! | #REF! | #REF! | #REF!
1.5 | 210.408 | 500 | 1.6 | 216.9689 | 1.8 | 268.5123 | 2 | 319.4133 | 3.2 | 825.8464 | 4.8 | 1909.4211 | 5 | 1996.3333 | 6.5 | 3417.0595 | 6.5 | 3345.3184 | 7.5 | 4458.0667 | 10 | 7985.3333 | 12 | 11498.88 | #REF! | #REF! | #REF! | #REF!
1.55 | 56.9092 | 30 | 1.875 | 80.53 | 2 | 84.5668 | 2.2 | 96.1698 | 3.4 | 231.1762 | 5 | 514.3361 | 5.5 | 601.0612 | 7 | 986.8984 | 7 | 958.4396 | 8 | 1251.8395 | 10.5 | 2172.1493 | 12.5 | 3074.4808 | #REF! | #REF! | #REF! | #REF!
1.55 | 232.3308 | 500 | 1.875 | 328.7624 | 2 | 345.2427 | 2.2 | 392.6116 | 3.4 | 943.7729 | 5 | 2099.7682 | 5.5 | 2453.8222 | 7 | 4028.9957 | 7 | 3912.8133 | 8 | 5110.6133 | 10.5 | 8867.7624 | 12.5 | 12551.5152 | #REF! | #REF! | #REF! | #REF!
0.8 | 12.2791 | 30 | 0.8 | 12.1849 | 2.2 | 108.7245 | 2.4 | 116.9277 | 3.6 | 263.0873 | 5.2 | 565.0136 | 6 | 730.798 | 7.5 | 1157.2562 | 7.5 | 1112.0938 | 8.5 | 1426.3171 | 11 | 2404.2449 | 13 | 3348.0209 | #REF! | #REF! | #REF! | #REF!
0.8 | 50.1291 | 500 | 0.8 | 49.7448 | 2.2 | 443.866 | 2.4 | 477.3553 | 3.6 | 1074.0494 | 5.2 | 2306.6582 | 6 | 2983.4705 | 7.5 | 4724.4786 | 7.5 | 4540.1039 | 8.5 | 5822.9152 | 11 | 9815.2889 | 13 | 13668.2381 | #REF! | #REF! | #REF! | #REF!
1 | 19.56 | 30 | 1 | 19.1861 | 2.29 | 122.2062 | 2.6 | 141.2534 | 3.8 | 298.5466 | 5.4 | 620.3946 | 6.5 | 882.8337 | 8 | 1353.0695 | 8 | 1282.3799 | 9 | 1617.1314 | 11.5 | 2653.9175 | 13.5 | 3638.5458 | #REF! | #REF! | #REF! | #REF!
1 | 79.8533 | 500 | 1 | 78.3267 | 2.29 | 498.9048 | 2.6 | 576.6645 | 3.8 | 1218.8113 | 5.4 | 2532.7503 | 6.5 | 3604.1534 | 8 | 5523.8833 | 8 | 5235.2942 | 9 | 6601.9115 | 11.5 | 10834.5726 | 13.5 | 14854.3008 | #REF! | #REF! | #REF! | #REF!
1.2 | 29.2319 | 30 | 1.2 | 28.026 | 1.4 | 38.0331 | 2.8 | 170.3304 | 4 | 338.2674 | 5.6 | 681.3216 | 7 | 1064.565 | 8.5 | 1581.8513 | 8.5 | 1471.9931 | 9.5 | 1826.5006 | 12 | 2923.1922 | 14 | 3947.5934 | #REF! | #REF! | #REF! | #REF!
1.2 | 119.3388 | 500 | 1.2 | 114.4157 | 1.4 | 155.2693 | 2.8 | 695.3709 | 4 | 1380.9708 | 5.6 | 2781.4837 | 7 | 4346.0683 | 8.5 | 6457.8807 | 8.5 | 6009.3866 | 9.5 | 7456.6576 | 12 | 11933.882 | 14 | 16115.9828 | #REF! | #REF! | #REF! | #REF!
1.4 | 42.5826 | 30 | 1.4 | 39.0922 | 1.6 | 50.5726 | 3 | 206.1569 | 4.2 | 383.2434 | 5.8 | 748.9029 | 7.5 | 1288.4803 | 9 | 1855.4117 | 9 | 1684.638 | 10 | 2057.3443 | 12.5 | 3214.6005 | 14.5 | 4277.0104 | #REF! | #REF! | #REF! | #REF!
1.4 | 173.8427 | 500 | 1.4 | 159.5933 | 1.6 | 206.4616 | 3 | 841.6318 | 4.2 | 1564.5846 | 5.8 | 3057.3832 | 7.5 | 5260.199 | 9 | 7574.6865 | 9 | 6877.5059 | 10 | 8399.073 | 12.5 | 13123.5515 | 14.5 | 17460.8218 | #REF! | #REF! | #REF! | #REF!
1.5 | 51.5392 | 30 | 1.6 | 53.1463 | 1.8 | 65.7718 | 2 | 78.24 | 4.4 | 434.8981 | 6 | 824.6274 | 5 | 488.9998 | 6.5 | 837.0052 | 9.5 | 1925.505 | 10.5 | 2313.5547 | 13 | 3531.3347 | 15 | 4629.0247 | #REF! | #REF! | #REF! | #REF!
1.5 | 210.408 | 500 | 1.6 | 216.9689 | 1.8 | 268.5123 | 2 | 319.4133 | 4.4 | 1775.4639 | 6 | 3366.5273 | 5 | 1996.3333 | 6.5 | 3417.0595 | 9.5 | 7860.8414 | 10.5 | 9445.0476 | 13 | 14416.6137 | 15 | 18897.9142 | #REF! | #REF! | #REF! | #REF!
1.55 | 56.9092 | 30 | 1.875 | 80.53 | 2 | 84.5668 | 2.2 | 96.1698 | 4.6 | 495.3469 | 5 | 514.3361 | 5.5 | 601.0612 | 7 | 986.8984 | 10 | 2202.0588 | 11 | 2600.4116 | 13.5 | 3877.4661 | 15.5 | 5006.3428 | #REF! | #REF! | #REF! | #REF!
1.55 | 232.3308 | 500 | 1.875 | 328.7624 | 2 | 345.2427 | 2.2 | 392.6116 | 4.6 | 2022.2451 | 5 | 2099.7682 | 5.5 | 2453.8222 | 7 | 4028.9957 | 10 | 8989.8674 | 11 | 10616.1358 | 13.5 | 15829.6891 | 15.5 | 20438.309 | #REF! | #REF! | #REF! | #REF!
|  | 30 | [16 empty] | 11.5 | 2925.2408 | 14 | 4258.2599 | 16 | 5412.2782 | #REF! | #REF! | #REF! | #REF!
|  | 500 | [16 empty] | 11.5 | 11942.2456 | 14 | 17384.2731 | 16 | 22095.5331 | #REF! | #REF! | #REF! | #REF!
[21 empty] | 14.5 | 0 | 16.5 | 0 | #REF! | #REF! | #REF! | #REF!
[21 empty] | 14.5 | 0 | 16.5 | 0 | #REF! | #REF! | #REF! | #REF!
[21 empty] | 15 | 0 | 17 | 0 | #REF! | #REF! | #REF! | #REF!
[21 empty] | 15 | 0 | 17 | 0 | #REF! | #REF! | #REF! | #REF!

## Pressure Management Analysis
PRESSURE MANAGEMENT ANALYSIS FOR 98 SERIES PRESSURE MANAGEMENT CONTROL VALVE
PREPARED BY: | CLA-VAL Application Example
DATE: | 2012-03-23 13:03
SYSTEM INPUT DATA |  |  | OUTPUT DATA FOR SYSTEM LEAKS
Pipe Size | 6 | in | Average Flow Rate | 138.8889 | gpm
Estimated Daily Water Usage | 200000 | gal | Average Flow Velocity (approx.) | 1.576 | ft/sec
Standard System Pressure | 75 | psi | Average Weekly Water Usage | 1400000 | gal
Estimated System Leakage | 5 | % | Average Annual Water Usage | 223.9951 | acre-ft
Water Cost per Acre-Foot | 250 | $ | Average Annual Water Usage | 73 | mg
|  |  | Estimated Daily Water Loss Based on Standard System Pressure & Estimated System Leakage | 10000 | gal
[7 empty] | Outlet Pressure | Time Hrs
|  |  | Estimated Annual Water Loss | 11.1998 | acre-ft | Min | 50 | 0
System Leakage Orifice Dia | 0.90977 | in | Annual Financial Loss Due to Estimated System Leakage | 2799.9386 | $ |  | 50 | 15
[6 empty] | Average | 50 | 15
Outlet Pressure (max) | 75 | psi |  |  |  |  | 75 | 19
PRESSURE MANAGEMENT INPUT DATA |  |  | PRESSURE MANAGEMENT OUTPUT DATA |  |  | Max | 75 | 19
Outlet Pressure (min) | 50 | psi | Estimated System Leakage at Standard System Pressure & Before Pressure Management Input Data | 5 | % |  | 75 | 24
Time at Max Pressure (daily) | 5 | hrs |  |  |  | CRD | 75.75 | 0
Time at Min Pressure (daily) | 15 | hrs | Calculated % of System Leakage Recovered with Pressure Management Input data | 34.0186 | % |  | 75.75 | 24
Leakage Coefficient, N1 | 1.5 | - |  |  |  | Savings Zone | 52.5 | 0.25
|  |  | Average Daily Pressure with Pressure Management Input Data | 57.2917 | psi |  | 52.5 | 14.75
Leakage Coefficient Guideline | [6 empty] | 73 | 17
|  |  | Calculated Daily Water Savings with Pressure Management Input Data | 3401.8567 | gal |  | 73 | 0.25
[7 empty] | 52.5 | 0.25
|  |  | Calculated Annual Water Savings with Pressure Management Input Data | 3.81 | acre-ft
[6 empty] | Annual Water Loss Without Pressure Management | Annual Water Loss With Pressure Management | Annual Water Savings With Pressure Management
|  |  | Calculated Annual Water Savings with Pressure Management Input Data | 1.2417 | mg
|  |  | Calculated Annual Financial Savings with Pressure Management Input Data | 952.499 | $ | 0 | 0 | 0
[6 empty] | 11.1998 | 7.3898 | 3.81
|  |  | Calculated Daily Water Loss with Pressure Management Input Data | 6598.1433 | gal
Water Cost per Acre-Foot
Water Cost per 1000 Gallons
Note on B19: THIS PRESSURE VALUE IS THE LOW PRESSURE SET POINT OF THE CRD2S PRESSURE MANAGEMENT CONTROL PILOT. THE HIGH PRESSURE SET POINT IS THE SAME VALUE AS THE STANDARD SYSTEM PRESSURE VALUE THAT WAS ENTERED IN SYSTEM INPUT DATA.
Note on B20: THIS VALUE IS THE ESTIMATED TIME THAT THE PRESSURE MANAGEMENT CONTROL VALVE WILL BE REGULATING AT OR NEAR THE HIGH PRESSURE SET POINT OF THE CRD2S PRESSURE MANAGEMENT CONTROL PILOT. THIS VALUE IS THE ESTIMATED TIME PERIOD FOR PEAK SYSTEM DEMAND. PEAK TIMES TYPICALLY OCCUR DURING EARLY MORNING, MID-DAY AND EARLY EVENING HOURS FOR RESIDENTIAL WATER SYSTEMS.
Note on B21: THIS VALUE IS THE ESTIMATED TIME THAT THE PRESSURE MANAGEMENT CONTROL VALVE WILL BE REGULATING AT OR NEAR THE LOW PRESSURE SET POINT. THIS TIME IS TYPICALLY DURING LOW SYSTEM DEMAND PERIODS SUCH AS NIGHT TIME AND OFF PEAK HOURS.
Note on B22: THIS COEFFICIENT IS UTILIZED IN THIS PROGRAM FOR LEAKAGE ANALYSIS AND IS TAKEN FROM A STUDY ON SYSTEM LEAKAGE ANALYSIS BY ALLEN LAMBERT. N1 CAN VARI BETWEEN .50 AND 2.50 DEPENDING ON THE TYPE AND CHARACTERISTICS OF THE WATER DISTRIBUTION SYSTEM. REFER TO BELOW LEAKAGE COEFFICIENT GUIDELINE BLOCK FOR SUGGESTED N1 INPUT VALUES.
Note on B24: LEAKAGE COEFFICIENT, N1, CAN VARI DEPENDING ON FACTORS SUCH AS PIPE MATERIAL, LEVEL AND TYPE OF LEAKAGE AS WELL AS THE TYPE OF DISTRIBUTION SYSTEM (RESIDENTIAL, COMMERCIAL, AGRICULTURAL, ETC.). FOR ANALYSIS PURPOSES THE FOLLOWING GUIDELINE CAN BE USED TO SELECT A NUMBER FOR N1. THESE N1 VALUES ARE REFERENCED FROM A SYSTEM LEAKAGE ANALYSIS STUDY. THE USER MAY WANT TO ENTER DIFFERENT VALUES FOR N1 IF THEY ARE FAMILIAR WITH THE LEAKAGE ANALYSIS METHOD USED AND THE PROPER COEFFICIENT VALUE FOR THEIR PARTICULAR SYSTEM. N1 = 1.5 IS AN AVERAGE LEAKAGE COEFFICIENT VALUE USED FOR TYPICAL SYSTEMS WITH UNDETECTABLE BACKGROUND LEAKAGE WITH ANY PIPE MATERIAL. N1 = 1.0 IS RECOMMENDED IF THERE IS AN ABSCENCE OF KNOWLEDGE OF PIPE MATERIALS AND LEAKAGE LEVEL. N1 = 1.15 IS A JAPANESE STANDARD USED FOR THEIR SYSTEMS FOR THE PAST 20 YEARS. N1 = 1.52 WAS AN AVERAGE VALUE DETERMINED FROM LAB TESTS BY ASHCROFT & TAYLOR (SURVEYOR, JULY 1983) ON ARTIFICIALLY CREATED LEAKS IN PLASTIC PIPE. N1 = 2.50 MAXIMUM RECOGNIZED COEFFICIENT VALUE FOR SYSTEMS WITH EXCESSIVE LEAKAGE. ALTHOUGH SOME GENERAL THEORIES REFERENCE UPPER COEFFICIENT VALUES OF 2.50, CASE STUDIES ASSOCIATED WITH THIS VALUE WERE NOT FOUND.